## Slide 1: EMC Test and Measurement Environments
Open Area Test Site
Screened Room
Anechoic Chamber
TEM/GTEM Cell
Reverberation Chamber
Reference book:
Levent Sevgi, ‘’A Practical Guide to EMC Engineering’’, 2017 ARTECH HOUSE

## Slide 2
Big picture
Open Area Test Site
Screened Room
Anechoic Chamber
TEM/GTEM Cell
Reverberation Chamber

## Slide 3: 1. Open Area Test Site

## Slide 4: 1. Open Area Test Site Open Area Test Site Calibration

## Slide 5: 1. Open Area Test Site Open Area Test Site Calibration
The critical parameter in OATS calibration is Normalized Site Attenuation (NSA).

## Slide 6: 1. Open Area Test Site Open Area Test Site Calibration
Normalized Site Attenuation (NSA).

## Slide 7: 1. Open Area Test Site Open Area Test Site Calibration
Normalized Site Attenuation (NSA).

## Slide 8
Normalized Site Attenuation (NSA).

## Slide 9
Normalized Site Attenuation (NSA).

## Slide 10: 1. Open Area Test Site Open Area Test Site Calibration
Notes: Ferromanyetik

## Slide 11: 1. Open Area Test Site Open Area Test Site Calibration

## Slide 12: EMC Test and Measurement Environments
2. Screened Room
40–60 dB screening is assumed average
80–100 dB isolation is good
Notes: Ferromanyetik malzemeden yapılır.

## Slide 13: EMC Test and Measurement Environments
2. Screened Room and Resonance Effects

## Slide 14: EMC Test and Measurement Environments
2. Screened Room and Resonance Effects

## Slide 15: EMC Test and Measurement Environments
3. Anechoic Chamber
Notes: RE ve RI testleri Açık alan test sahasında veya yansımasız odada gerçekleştirilir.
Büyük firmalar(askeri ve sivil) kendi yansımasız odaları mevcuttur.

## Slide 16: EMC Test and Measurement Environments
3. Anechoic Chamber
Notes: Ekranlı odaların sonsuz sayıda rezonans frekansı vardır.Bu rezonans frekanslarında oda içinde bulunan elektromanyetik işaretler 20-40 dB (binlerce kez ) kuvvetlendirilir. Bu nedenle , ekranlı oda içinde belgelendirme amaçlı EMC emisyon ölçüleri yapılamaz.

## Slide 17: EMC Test and Measurement Environments
4. TEM /GTEM Cell

## Slide 18: EMC Test and Measurement Environments
4. TEM /GTEM Cell

## Slide 19: EMC Test and Measurement Environments
5. Reverberation Chamber
A reverberation chamber used in immunity tests.